## Slide 1
1. High Level Design Overview

## Slide 2
Data Files (*.snirf, *.nirs)
User supplied Algorithms: *.m Function Files
ProcStreamEditGUI
Display and edit Input Arguments
StimEditGUI
Display and edit stimulus conditions
PlotProbe
Display HRF for all channels in flat probe space
ProcStreamOptionGUI
Display and edit Input Options
Load Acquired Data
Load user function files
Homer3 MainGUI
Display data, compute processing stream, display results
Find/Read users functions
Edit Stims
Design Overview
Save Proc Stream data
Derived/Processed Data (groupResults.mat)
Add/Edit user function
Save Acquired Data
Load Proc Stream data
Edit Proc Stream Functions
DataTree
FuncRegistry
Calc Proc Stream Data
Legend
Data class object loading/storing data from files
GUI object
Data file
Class method

## Slide 3
Data Files (*.snirf, *.nirs)
User supplied Algorithms: *.m Function Files
ProcStreamEditGUI
Display and edit Input Arguments
StimEditGUI
Display and edit stimulus conditions
PlotProbe
Display HRF for all channels in flat probe space
ProcStreamOptionGUI
Display and edit Input Options
Load Files
Homer3 MainGUI
Display data, compute processing stream, display results
Find
Read
Design Overview – Loading and Saving Data to Files
Derived/Processed Data (groupResults.mat)
Add/Edit user function
FuncRegistry
Load Acquired Data
Edit Stims
Save Proc Stream data
Load Proc Stream data
Edit Proc Stream Functions
DataTree
Calc Proc Stream Data
Save Acquired Data

## Slide 4
Data Files (*.snirf, *.nirs)
User supplied Algorithms: *.m Function Files
ProcStreamEditGUI
Display and edit Input Arguments
StimEditGUI
Display and edit stimulus conditions
PlotProbe
Display HRF for all channels in flat probe space
ProcStreamOptionGUI
Display and edit Input Options
Load Acquired Data
Load Files
Homer3 (MainGUI)
Display data, compute processing stream, display results
Find
Read
Edit Stims
Design Overview – Loading data from Data Classes to GUIs
Save Proc Stream data
Derived/Processed Data (groupResults.mat)
Add/Edit
Save Acquired Data
Load Proc Stream data
Edit Proc StreamFunctions
DataTree
FuncRegistry
Calc Proc StreamData

## Slide 5
Data Files (*.snirf, *.nirs)
User supplied Algorithms: *.m Function Files
ProcStreamEditGUI
Display and edit Input Arguments
StimEditGUI
Display and edit stimulus conditions
PlotProbe
Display HRF for all channels in flat probe space
ProcStreamOptionGUI
Display and edit Input Options
Load Acquired Data
Load Files
Homer3 (MainGUI)
Display data, compute processing stream, display results
Find
Read
Edit Stims
Design Overview – GUIs editing data in data class objects
Save Proc Stream data
Derived/Processed Data (groupResults.mat)
Add/Edit
Save Acquired Data
Load Proc Stream data
Edit Proc Stream Functions
DataTree
FuncRegistry
Calc Proc Stream Data

## Slide 6
Data Files (*.snirf, *.nirs)
User supplied Algorithms: *.m Function Files
ProcStreamEditGUI
Display and edit Input Arguments
StimEditGUI
Display and edit stimulus conditions
PlotProbe
Display HRF for all channels in flat probe space
ProcStreamOptionGUI
Display and edit Input Options
Load Acquired Data
Load Files
Homer3 (MainGUI)
Display data, compute processing stream, display results
Find
Read
Edit Stims
Design Overview – All data flows
Save Proc Stream data
Derived/Processed Data (groupResults.mat)
Add/Edit user function
Save Acquired Data
Load Proc Stream data
Edit Proc StreamFunctions
DataTree
FuncRegistry
Calc Proc StreamData

## Slide 7
2. Data Tree

## Slide 8
Gk / Sj+2
Gk / Sj+1
Gk / Sj / Ei /
Rh.snirf
Gk / Sj / Ei /
Rh+1.snirf
Gk / Sj / Ei /
Rh+2.snirf
Gk / D* /
Gk.mat
+
groupResult.mat
Folder/File Tree
Gk / Sj
Gk / Sj / Ei+1
Gk / Sj / Ei
Gk / D* / Sj+2 /
Sj+2.mat
Gk / D* / Sj+1 /
Sj+1.mat
Gk / D* / Sj / Ei /
Rh.mat
Gk / D* / Sj / Ei /
Rh+1.mat
Gk / D* / Sj / Ei /
Rh+2.mat
Gk / D* / Sj /
Sj.mat
Gk / D* / Sj / Ei+1 /
Ej+1.mat
Gk / D* / Sj / Ei /
Ej.mat
Gk -- group folder
Sj -- subject folder
Ei -- session folder
Rh -- run folder
D* -- derived / homer
Gk
Group Dataset (Type 1 BIDS Folder Structure)
Type 1 BIDS Folder Structure:
For all higher level processing group, subject, and session, the dataset folder structure has a corresponding folder.
NOTE:
This group is shown with 3 subject folders but to save space only one file/folder branch Gk/Sj/Ei is fully shown down to its runs (3 in this case). The other branches are only partially shown but it is to be assumed that all branches have run files.

## Slide 9
Gk / D* -- Gk / derived / homer
Gk - group folder
Group Dataset (Type 1 BIDS Folder Structure)
Gk
Gk / Sj+2
Gk / Sj+1
Gk / Sj / Ei /
Rh.snirf
Gk / Sj / Ei /
Rh+1.snirf
Gk / Sj / Ei /
Rh+2.snirf
Gk / D* /
Gk.mat
+
groupResult.mat
Folder/File Tree
Gk / Sj
Gk / Sj / Ei+1
Gk / Sj / Ei
Gk / D* / Sj+2 /
Sj+2.mat
Gk / D* / Sj+1 /
Sj+1.mat
Gk / D* / Sj / Ei /
Rh.mat
Gk / D* / Sj / Ei /
Rh+1.mat
Gk / D* / Sj / Ei /
Rh+2.mat
Gk / D* / Sj /
Sj.mat
Gk / D* / Sj / Ei+1 /
Ej+1.mat
Gk / D* / Sj / Ei /
Ej.mat
Gk -- group folder
Sj -- subject folder
Ei -- session folder
Rh -- run folder
D* -- derived / homer
Group Gk derived data

## Slide 10
Corresponding Data Tree (Type 1 BIDS Folder Structure)
Gk
Gk.Sj
Gk.Sj+1
Gk.Sj+2
Gk.Sj.Ei.Rh
Gk.Sj.Ei.Rh+1
Gk.Sj.Ei.Rh+2
Data Tree
currElem
Gk.Sj.Ei
Gk.Sj.Ei+1
acquired
formatVersion data probe stim aux
procStream (derived data)
fcalls input output
Notes: <number>

## Slide 11
Gk
Gk.Sj
Gk.Sj+1
Gk.Sj+2
Gk.Sj.Ei.Rh
Gk.Sj.Ei.Rh+1
Gk.Sj.Ei.Rh+2
Data Tree
currElem
acquired
formatVersion data probe stim aux
Gk.Sj.Ei
Gk.Sj.Ei+1
procStream (derived data)
fcalls input output
Loading/Saving Acquired and Derived Data (Type 1 BIDS Folder Structure) to Data Tree
(file distribution scheme)
load/save derived output data (output field) from/to Rh+1.mat
load/save acquired data (snirf) from/to Rh+1.snirf
load/save derived input data (fcalls + input) from/to groupResults.mat
Notes: <number>

## Slide 12
Gk / Sj+2
Gk / Sj+1
Gk / Sj /
Rh.snirf
Gk / Sj /
Rh+1.snirf
Gk / Sj /
Rh+2.snirf
Gk / D* /
Gk.mat
+
groupResult.mat
Folder/File Tree
Gk / Sj
Gk / D* / Sj+2 /
Sj+2.mat
Gk / D* / Sj+1 /
Sj+1.mat
Gk / D* / Sj /
Rh.mat
Gk / D* / Sj /
Rh+1.mat
Gk / D* / Sj /
Rh+2.mat
Gk / D* / Sj /
Sj.mat
Gk -- group folder
Sj -- subject folder
Rh -- run folder
D* -- derived / homer
Gk
Group Dataset (Type 2 BIDS Folder Structure)
Type 2 BIDS Folder Structure:
Processing levels group and subject have corresponding folders but not session.

## Slide 13
Gk / D* -- Gk / derived / homer
Gk - group folder
Group Dataset (Type 2 BIDS Folder Structure)
Group Gk derived data
Gk / Sj+2
Gk / Sj+1
Gk / Sj /
Rh.snirf
Gk / Sj /
Rh+1.snirf
Gk / Sj /
Rh+2.snirf
Gk / D* /
Gk.mat
+
groupResult.mat
Folder/File Tree
Gk / Sj
Gk / D* / Sj+2 /
Sj+2.mat
Gk / D* / Sj+1 /
Sj+1.mat
Gk / D* / Sj /
Rh.mat
Gk / D* / Sj /
Rh+1.mat
Gk / D* / Sj /
Rh+2.mat
Gk / D* / Sj /
Sj.mat
Gk -- group folder
Sj -- subject folder
Rh -- run folder
D* -- derived / homer
Gk

## Slide 14
Gk
Gk.Sj
Gk.Sj+1
Gk.Sj+2
Gk.Sj.Ei.Rh
Gk.Sj.Ei.Rh+1
Gk.Sj.Ei.Rh+2
Data Tree
currElem
Gk.Sj.Ei
acquired
formatVersion data probe stim aux
procStream (derived data)
fcalls input output
Corresponding Data Tree (Type 2 BIDS Folder Structure)
NOTE:
In place of the missing session folders one session level is created in each subject of the data tree.
Notes: <number>

## Slide 15
Gk
Gk.Sj
Gk.Sj+1
Gk.Sj+2
Gk.Sj.Ei.Rh
Gk.Sj.Ei.Rh+1
Gk.Sj.Ei.Rh+2
Data Tree
currElem
acquired
formatVersion data probe stim aux
Gk.Sj.Ei
procStream (derived data)
fcalls input output
Loading/Saving Acquired and Derived Data (Type 2 BIDS Folder Structure) to Data Tree
(file distribution scheme)
load/save derived output data (output field) from/to Rh+1.mat
load/save acquired data (snirf) from/to Rh+1.snirf
load/save derived input data (fcalls + input) from/to groupResults.mat
Notes: <number>

## Slide 16
4. Stimulus

## Slide 17
g1s1r1.snirf
g1s1r2.snirf
g1s1r3.snirf
g1
s1
g1s2r1.snirf
g1s2r2.snirf
g1s2r3.snirf
s2
g1s3r1.snirf
g1s3r2.snirf
s3
Data Tree stim and stim conditions example
Assume group data set with this directory/file structure
g2
Group Directory Structure

## Slide 18
g1 |  |  | 
1 | 2 | 4 | 5
s1 |  |  | 
1 | 2 | 4 | 5
s2 |  |  | 
1 | 2 | 4 | 5
s3 |  |  | 
1 | 2 | 4 | 5
r1 |  |  | 
1 | 2 | 4 | 5
3 | 0 | 0 | 0
r2 |  |  | 
1 | 2 | 4 | 5
3 | 2 | 0 | 2
r3 |  |  | 
1 | 2 | 4 | 5
0 | 4 | 0 | 4
r1 |  |  | 
1 | 2 | 4 | 5
0 | 0 | 0 | 4
r2 |  |  | 
1 | 2 | 4 | 5
0 | 4 | 3 | 0
r3 |  |  | 
1 | 2 | 4 | 5
4 | 0 | 0 | 5
r1 |  |  | 
1 | 2 | 4 | 5
0 | 4 | 0 | 4
r2 |  |  | 
1 | 2 | 4 | 5
3 | 4 | 0 | 0
g1s1r1 |  |  | 
1 |  |  | 
3 |  |  | 
g1s2r1 |  |  | 
1 | 2 | 5 | 
3 | 2 | 2 | 
g1s1r3 |  |  | 
2 | 5 |  | 
4 | 4 |  | 
g1s2r1 |  |  | 
5 |  |  | 
4 |  |  | 
g1s2r2 |  |  | 
2 | 4 |  | 
4 | 3 |  | 
g1s2r3 |  |  | 
1 | 5 |  | 
4 | 5 |  | 
g1s3r1 |  |  | 
2 | 5 |  | 
4 | 4 |  | 
g1s3r2 |  |  | 
1 | 2 |  | 
3 | 4 |  | 
g2
. . .
1. Add 3 stims to NEW condition “4” in derived data of run 1,2,1
Data Tree
Data Tree stim and stim conditions example: Adding new stim to new condition
2. Regenerate conditions set in derived data of entire group
3. Save changed run stim to acquisition file g1s2r2
number of trials
condition names

## Slide 19
g1 |  |  | 
1 | 2 | 5 | 
s1 |  |  | 
1 | 2 | 5 | 
s2 |  |  | 
1 | 2 | 5 | 
s3 |  |  | 
1 | 2 | 5 | 
r1 |  |  | 
1 | 2 | 5 | 
3 | 0 | 0 | 
r2 |  |  | 
1 | 2 | 5 | 
3 | 2 | 2 | 
r3 |  |  | 
1 | 2 | 5 | 
0 | 4 | 4 | 
r1 |  |  | 
1 | 2 | 5 | 
0 | 0 | 4 | 
r2 |  |  | 
1 | 2 | 5 | 
0 | 4 | 0 | 
r3 |  |  | 
1 | 2 | 5 | 
4 | 0 | 5 | 
r1 |  |  | 
1 | 2 | 5 | 
0 | 4 | 4 | 
r2 |  |  | 
1 | 2 | 5 | 
3 | 4 | 0 | 
g2
. . .
g1s1r1 |  |  | 
1 |  |  | 
3 |  |  | 
g1s2r1 |  |  | 
1 | 2 | 5 | 
3 | 2 | 2 | 
g1s1r3 |  |  | 
2 | 5 |  | 
4 | 4 |  | 
g1s2r1 |  |  | 
5 |  |  | 
4 |  |  | 
g1s2r2 |  |  | 
2 |  |  | 
4 |  |  | 
g1s2r3 |  |  | 
1 | 5 |  | 
4 | 5 |  | 
g1s3r1 |  |  | 
2 | 5 |  | 
4 | 4 |  | 
g1s3r2 |  |  | 
1 | 2 |  | 
3 | 4 |  | 
Data Tree
Data Tree stim and stim conditions example
number of trials
condition names

## Slide 20
4.1
BIDS Stim Loading and Saving from Events TSV file

## Slide 21
BIDS Stim Loading: Default Configuration
default configuration value

## Slide 22
Generate Stim TSV: Stim Export
2. Select Files -> Export -> Stim
1. Select group to export stim for ALL runs in the group

## Slide 23
1. Edit and Load events TSV
Events TSV file corresponding to currently selected run, neoro_run07.snirf
Newly exported (i.e., unedited) events TSV file

## Slide 24
2. Edit and Load events TSV
Edit events TSV file and reload stims

## Slide 25
3. Edit and Load events TSV
Stims reloaded from edited events TSV